## Sheet1
S/N | DATE OF TEST | CONTROLLER'S S/N | OLD BOARD ID | CATEGORY | FAULT DESCRIPTION | STATUS | REMARK | VERSION | DATE | WORK DONE | STATUS | NEW BOARD ID | REPAIRER'S NAME
1 | 2022-01-05 | M5LP01057 | KB58 | Voltage card and Primary board issue | Voltage card,LVD are faulty and the board is physically burnt | Faulty | Not repairable | White | 2022-01-05 | New wiznet,30W Power Pack,Voltage Card,LVD and Version 8 board are fixed | Good | IU22 | RAHAMON
2 | 2022-01-05 | NILL | HW79 | Wiznet and P rimary Board issue | Board not powering and Wiznet card is missing | Faulty | Repairable | V8 | 2022-01-05 | New wiznet and Version 8 board are fixed | Good | JF34 | TOBI
3 | 2022-01-05 | MP101879 | IG37 | Primary Board issue | D43 and 44 are permanently off | Faulty | Not repairable | White | 2022-01-05 | New wiznet and Version 8 board are fixed | Good | IU06 | BARBARA
4 | 2022-07-14 | NILL | IW34 | Primary Board issue | Modbus not working | Faulty | Repairable | V8 | 2022-07-14 | New Primary board Version 8 is fixed | Good | OC62 | TOBI
5 | 2022-07-14 | NILL | JE96 | Primary Board issue | Board not powering and Wiznet card is missing | Faulty | Repairable | V8 | 2022-07-14 | New wiznet and Version 8 board are fixed | Good | OC33 | TOBI
6 | 2022-07-14 | Y2U101367 | GX64 | Primary Board issue | Modbus and V-bats are not working | Faulty | Repairable | V8 | 2022-07-14 | New wiznet and Version 8 board are fixed | Good | OC34 | TOBI
7 | 2022-07-14 | NILL | IT09 | Primary Board issue | Power-pack not working,Pry Board not logging in | Faulty | Repairable | V8 | 2022-07-14 | New wiznet and Version 8 board are fixed | Good | OA95 | TOBI
8 | 2022-07-15 | NILL | LM32 | Boards,12volt,LVD and Voltage cards issue | Everything inside controller are burnt except Power-pack | Faulty | Not repairable | V8 | 2022-07-15 | Replacement of everything inside except Power-pack | Good | OB78 | TOBI
9 | 2022-07-15 | NILL | LU37 | Primary Board issue | Modbus not working,Alarming 4 and 9 | Faulty | Not repairable | V8 | 2022-07-15 | New wiznet and Version 8 board are fixed | Good | OA16 | SEGUN
10 | 2022-07-15 | NILL | KG02 | Boards,12volt,LVD and Voltage cards issue | Everything inside controller are burnt except Power-pack | Faulty | Repairable | V8 | 2022-07-15 | Replacement of everything inside except Power-pack | Good | OB48 | TOBI
11 | 2022-07-15 | MP108513 | IW65 | Primary Board and Power-pack(100w) issue | Power-pack(100w),Modbus and V-bats are not working | Faulty | Repairable | V8 | 2022-07-15 | Power-pack(100w),New wiznet and Version 8 board are fixed | Good | OB29 | TOBI
13 | 2022-07-15 | M5LP00140 | JM21 | Primary Board issue | Modbus not working | Faulty | Repairable | V8 | 2022-07-15 | New wiznet and Version 8 board are fixed | Good | OB27 | TOBI
14 | 2022-07-15 | R2UN100866 | GN83 | Boards,12volt,LVD and Voltage cards issue | Everything inside controller are burnt except Power-pack | Faulty | Repairable | V8 | 2022-07-15 | Replacement of everything inside except Power-pack | Good | OA45 | SEGUN
15 | 2022-07-15 | MP101828 | HB32 | Primary Board issue | Modbus not working | Faulty | Repairable | V8 | 2022-07-15 | New wiznet and Version 8 board are fixed | Good | OB02 | TOBI
16 | 2022-07-15 | NILL | HD63 | Primary and Secondary Board issue | Modbus not working | Faulty | Repairable | V8 | 2022-07-15 | New wiznet and Version 8 boards are fixed | Good | OC83 | SEGUN
17 | 2022-07-18 | M2U100988 | BL90 | Primary and Secondary Board issue | Prmary and secondary board not powering | Faulty | Repairable | V7 | 2022-07-18 | New wiznet,30W Power Pack,Voltage Card,LVD and Version 8 board are fixed | Good | NZ84 | SEGUN
18 | 2022-07-18 | HV78 | HV78 | Primary and Secondary Board issue | Prmary and secondary board not powering | Faulty | Repairable | V8 | 2022-07-18 | New wiznet,Voltage Card,LVD and Version 8 board are fixed | Good | OA03 | SEGUN
19 | 2022-07-18 | NILL | LS84 | Primary and Secondary Board issue | Prmary and secondary board burnt | Faulty | Repairable | V8 | 2022-07-18 | New wiznet,Voltage Card,LVD and Version 8 board are fixed | Good | OA34 | SEGUN
20 | 2022-07-18 | Y2U101071 | CK71 | Primary and Secondary Board issue | Prmary and secondary board not powering | Faulty | Repairable | V8 | 2022-07-18 | New wiznet,Voltage Card,LVD and Version 8 board are fixed | Good | OA60 | SEGUN
21 | 2022-08-22 | M2U100982 | CG24 | Primary and Secondary Board issue | Tripping off power | Faulty | Repairable | V8 | 2022-08-22 | New 12V card and wiznet | Good | CG24 | TOBI
22 | 2022-08-22 | MP107476 | KF19 | Primary and Secondary Board issue | Modbus not working | Faulty | Repairable | V8(w) | 2022-08-22 | New wiznet and Version 8 board are fixed | Good | OD90 | TOBI
23 | 2022-08-22 | MP108455 | IT61 | Primary and Secondary Board issue | Modbus not working | Faulty | Repairable | V8(w) | 2022-08-22 | New wiznet and Version 8 board are fixed | Good | NZ13 | TOBI
24 | 2022-08-22 | Y2U100207 | JB05 | Primary and Secondary Board issue | D43&44 permanently off | Faulty | Repairable | V8 | 2022-08-22 | New wiznet,LVD and Version 8 board are fixed | Good | OF21 | TOBI
25 | 2022-08-22 | A2U100680 | IV42 | Primary and Secondary Board issue | D43&44 permanently off and board its physically damaged | Faulty | Repairable | V8 | 2022-08-22 | New wiznet and Version 8 board are fixed | Good | OE40 | TOBI
26 | 2022-08-23 | NILL | KY57 | Boards,12volt,LVD and Voltage cards issue | Everything inside controller are missing except boards | Faulty | Repairable | V8 | 2022-08-23 | Replacement of everything inside | Good | OF20 | TOBI
27 | 2022-08-23 | M2USLA20102 | HW12 | Primary and Secondary Board issue | Can't login | Faulty | Repairable | V8 | 2022-08-23 | New wiznet and Version 8 board are fixed | Good | OA30 | TOBI
28 | 2022-08-23 | R2U100240 | IV92 | Primary Board and Power-pack(100w) issue | Board physically damagede by water | Faulty | Not repairable | V8 | 2022-08-23 | Power-pack(100w),New wiznet and Version 8 board are fixed | Good | OF03 | TOBI
29 | 2022-08-23 | M5LP01044 | IY92 | Boards,12volt and LVD issue | Board not powering | Faulty | Repairable | V8(w) | 2022-08-23 | New wiznet,12V,LVD cards and Version 8 board are fixed | Good | OE78 | TOBI
30 | 2022-08-23 | NILL | OE44 | Primary and Secondary Board issue | Can't login | Faulty | Repairable | V8(w) | 2022-08-23 | Fixed by button | Good | OE44 | TOBI
31 | 2022-08-23 | Y2U101320 | IM16 | Boards and Power pack issue | Tripping off power | Faulty | Repairable | V8 | 2022-08-23 | New boards and power pack fixed | Good | OC89 | SEGUN
32 | 2022-08-23 | NILL | KY17 | Power pack issue | Not powering | Faulty | Repairable | V8 | 2022-08-23 | New power pack fixed | Good | KY17 | SEGUN
33 | 2022-08-23 | NILL | IB66 | Boards and Power pack issue | Can't login | Faulty | Repairable | V8 | 2022-08-23 | New boards and power pack fixed | Good | OA36 | SEGUN
34 | 2022-08-23 | NILL | LH57 | LVD and Primary board issue | Modbus not working | Faulty | Repairable | V8 | 2022-08-23 | New wiznet,LVD and Version 8 board are fixed | Good | OA29 | SEGUN
35 | 2022-08-23 | M2U101391 | KA44 | Primary Board issue | D43&44 permanently off | Faulty | Repairable | V8 | 2022-08-23 | New wiznet and Version 8 board are fixed | Good | OA01 | SEGUN
36 | 2022-08-24 | NILL | OE26 | Primary Board issue | Not powering | Faulty | Repairable | V8 | 2022-08-24 | New wiznet and Version 8 board are fixed | Good | OF06 | TOBI
37 | 2022-08-24 | M5LP00563 | KH71 | Wiznet card issue | Wiznet missing | Faulty | Not repairable | V8(w) | 2022-08-24 | New wiznet fixed | Good | KH71 | TOBI
38 | 2022-08-24 | M5LP01036 | IY81 | Boards,12volt,LVD and Voltage cards issue | Voltage card,LVD are faulty and the board is physically burnt | Faulty | Not repairable | V8(w) | 2022-08-24 | New wiznet,12V,LVD cards and Version 8 board are fixed | Good | OF02 | TOBI
39 | 2022-08-24 | MP100594 | NILL | Boards,12volt,LVD and Voltage cards issue | Voltage card,LVD are faulty and the board is physically burnt | Faulty | Not repairable | V8(w) | 2022-08-24 | New wiznet,12V,LVD,Voltage cards and Version 8 board are fixed | Good | OC54 | TOBI
40 | 2022-08-24 | Y2UJ100476 | MB60 | Power pack issue | Not powering | Faulty | Repairable | V8 | 2022-08-24 | New power pack fixed | Good | MB60 | TOBI
41 | 2022-08-25 | M2USLA20181 | HW55 | Primary Board issue | Can't login | Faulty | Repairable | V8 | 2022-08-25 | New wiznet and Version 8 board are fixed | Good | OC40 | TOBI
42 | 2022-08-25 | A2U100923 | IU38 | Boards,12volt,LVD and power-pack(100w)issue | Everything inside controller are vandalised except voltage card | Faulty | Not repairable | V8 | 2022-08-25 | New power-pack,wiznet,12V,LVD cards and Version 8 board are fixed | Good | OC39 | TOBI
43 | 2022-08-25 | NILL | HB76 | Boards,12volt and LVD issue | Not powering | Faulty | Not repairable | V8 | 2022-08-25 | New wiznet,LVD,12V cards and Version 8 board are fixed | Good | OC43 | TOBI
44 | 2022-08-25 | NILL | HC15 | Primary Board issue | Board physically damagede by water and wiznet missing | Faulty | Not repairable | V8 | 2022-08-25 | New wiznet and Version 8 board are fixed | Good | OC38 | TOBI
45 | 2022-08-25 | M2USLA20146 | IP44 | Boards and power-pack(100w)issue | Everything inside controller are vandalised. | Faulty | Repairable | V8 | 2022-08-25 | New power-pack(100w),wiznet,12V,LVD,voltage cards and Version 8 board are fixed | Good | OC42 | TOBI
46 | 2022-08-26 | M5LP02320 | JW73 | Primary Board issue | Modbus and V-bats are not working | Faulty | Repairable | V8 | 2022-08-26 | New wiznet and Version 8 board are fixed | Good | OC19 | TOBI
47 | 2022-08-26 | NILL | HB97 | Primary Board issue | LVD and V-bat 1 not working | Faulty | Repairable | V8 | 2022-08-26 | New wiznet and Version 8 board are fixed | Good | OC55 | TOBI
48 | 2022-08-26 | Y2U100059 | HX10 | Boards,12volt,LVD and Voltage cards issue | Voltage card,LVD are faulty and the board is physically burnt | Faulty | Repairable | V8 | 2022-08-26 | New wiznet,12V,LVD,Voltage cards and Version 8 board are fixed | Good | OC16 | TOBI
49 | 2022-08-26 | R2U101175 | GL25 | Boards and Power pack issue | Boards physically damaged by water | Faulty | Not repairable | V8 | 2022-08-26 | New power-pack(100w),wiznet and Version 8 board are fixed | Good | OC14 | TOBI
50 | 2022-08-26 | M2U101747 | EF04 | Primary Board issue | Modbus not working,board damaged by water | Faulty | Not repairable | V7 | 2022-08-26 | V7 converted to V8 | Good | OC15 | TOBI
51 | 2022-08-29 | Y2UJ100685 | DG54 | Primary Board issue | Can't login | Faulty | Repairable | V7 | 2022-08-29 | V7 converted to V8 | Good | OC87 | TOBI
52 | 2022-08-29 | M2U101096 | EE11 | Primary Board issue | Can't login | Faulty | Repairable | V7 | 2022-08-29 | Fixed by button | Good | EE11 | TOBI
53 | 2022-08-29 | A2U100648 | E299 | Primary Board issue | All digital input alarming,modbus and V-bata are not working | Faulty | Not repairable | V7 | 2022-08-29 | V7 converted to V8 | Good | OA93 | TOBI
54 | 2022-08-29 | M2U100395 | EB58 | Primary Board issue | D43&44 permanently off and damaged by water | Faulty | Not repairable | V7 | 2022-08-29 | V7 converted to V8 | Good | OA96 | TOBI
55 | 2022-08-30 | NILL | DF07 | Primary Board issue | 12V not powering and board physically damaged | Faulty | Not repairable | V7 | 2022-08-30 | V7 converted to V8 | Good | NZ20 | TOBI
56 | 2022-08-30 | R2UN100477 | NILL | Primary Board issue | J606 Vandalised and board is physically damaged | Faulty | Not repairable | V7 | 2022-08-30 | V7 converted to V8 | Good | OD38 | TOBI
57 | 2022-08-30 | M2U100526 | EI08 | Primary Board issue | 12V not working | Faulty | Not repairable | V7 | 2022-08-30 | V7 converted to V8 | Good | NZ79 | TOBI
58 | 2022-08-30 | Y2UJ1OO758 | DI19 | Primary Board issue | Boards physically damaged by water | Faulty | Not repairable | V7 | 2022-08-30 | V7 converted to V8 | Good | NZ31 | TOBI
59 | 2022-08-31 | Y2UJ100888 | E214 | Primary Board issue | D43&44 permanently off | Faulty | Repairable | V7 | 2022-08-31 | V7 converted to V8 | Good | NZ23 | TOBI
60 | 2022-08-31 | M2U100283 | EG60 | Primary Board issue | 12V not working | Faulty | Not repairable | V7 | 2022-08-31 | V7 converted to V8 | Good | NZ77 | TOBI
61 | 2022-08-31 | Y2UJ100597 | DF75 | Primary Board issue | D43&44 permanently off | Faulty | Repairable | V7 | 2022-08-31 | V7 converted to V8 | Good | OD37 | TOBI
62 | 2022-08-31 | Y2UJ100423 | DE48 | Primary Board issue | Can't login | Faulty | Repairable | V7 | 2022-08-31 | V7 converted to V8 | Good | OA52 | TOBI
63 | 2022-09-01 | M2U100865 | BD26 | Primary Board issue | D43&44 permanently off,Red light on LVD | Faulty | Repairable | V7 | 2022-09-01 | V7 converted to V8 | Good | OE81 | TOBI
64 | 2022-09-01 | Y2UJ100300 | NILL | Primary Board issue | Not powering | Faulty | Not repairable | V7 | 2022-09-01 | V7 converted to V8 | Good | OD21 | TOBI
65 | 2022-09-01 | Y2UJ100148 | DE97 | Primary Board issue | Not powering | Faulty | Repairable | V7 | 2022-09-01 | V7 converted to V8 | Good | OE29 | TOBI
66 | 2022-09-01 | M2U101671 | ET20 | Primary Board issue | Not powering | Faulty | Repairable | V7 | 2022-09-01 | V7 converted to V8 | Good | NZ24 | TOBI
67 | 2022-09-14 | NILL | HE10 | Primary Board issue | Not powering | Faulty | Repairable | V8 | 2022-09-14 | New wiznet and Version 8 board are fixed | Good | JS13 | TOBI
68 | 2022-09-14 | Y2U100589 | IE80 | Primary Board issue | D43&44 permanently off | Faulty | Repairable | V8 | 2022-09-14 | New wiznet and Version 8 board are fixed | Good | JU58 | TOBI
69 | 2022-09-14 | M2U100088 | GD22 | LVD power cable issue | Burnt fuse | Faulty | Not repairable | V8 | 2022-09-14 | New wiznet and LVD power cable | Good | GD22 | TOBI
70 | 2022-09-14 | Y2U101296 | CM79 | Primary Board issue | Modbus not working | Faulty | Repairable | V8 | 2022-09-14 | New LVD,wiznet and Version 8 board are fixed | Good | JV09 | TOBI
71 | 2022-09-14 | R2UN100337 | LP93 | Primary Board issue | Boards physically burnt and damaged | Faulty | Not repairable | V8 | 2022-09-14 | New wiznet and Version 8 board are fixed | Good | JV21 | TOBI
72 | 2022-09-15 | A2U100777 | HA57 | Primary Board issue | Not powering | Faulty | Repairable | V8 | 2022-09-15 | New wiznet and Version 8 board are fixed | Good | OD17 | TOBI
73 | 2022-09-15 | M2U101340 | EJ49 | Power-pack(100w) and Primary Board issue | J606 Vandalised | Faulty | Repairable | V7 | 2022-09-15 | V7 converted to V8 | Good | OR54 | TOBI
74 | 2022-09-15 | A2U100817 | B591 | Primary Board issue | Water damaged | Faulty | Not repairable | V7 | 2022-09-15 | V7 converted to V8 | Good | JU59 | TOBI
75 | 2022-09-15 | R2U101343 | BC53 | Primary Board issue | Boards physically damaged by water | Faulty | Not repairable | V7 | 2022-09-15 | V7 converted to V8 | Good | JV07 | TOBI
76 | 2022-09-16 | M2U100687 | EH29 | Primary Board issue | Tripping off power,water damaged | Faulty | Not repairable | V7 | 2022-09-16 | V7 converted to V8 | Good | JV22 | TOBI
77 | 2022-09-16 | Y2UJ100520 | DA36 | Primary Board issue | All digital input alarming,modbus and V-bata are not working | Faulty | Not repairable | V7 | 2022-09-16 | V7 converted to V8 | Good | JS23 | TOBI
78 | 2022-09-16 | M2U100579 | EE37 | Primary Board issue | Boards physically damaged by water | Faulty | Not repairable | V7 | 2022-09-16 | V7 converted to V8 | Good | JS18 | TOBI
79 | 2022-09-16 | M2U100260 | EF48 | Power-pack(100w) and Primary Board issue | Boards physically damaged by water | Faulty | Not repairable | V7 | 2022-09-16 | V7 converted to V8 | Good | JU82 | TOBI
80 | 2022-09-19 | NILL | LQ66 | Primary Board issue | Boards physically burnt and damaged,LVD,12V and voltage card are missing | Faulty | Not repairable | V8 | 2022-09-19 | Replacement of everything except power-pack | Good | OO80 | TOBI
81 | 2022-09-19 | M2USLA20175 | IU86 | Primary Board issue | All digital input alarming,modbus and V-bata are not working | Faulty | Not repairable | V8 | 2022-09-19 | New wiznet,Voltage card and Version 8 board are fixed | Good | OQ84 | TOBI
82 | 2022-09-19 | Y2U100052 | FA61 | Primary Board issue | Can't login | Faulty | Repairable | V8 | 2022-09-19 | New wiznet and Version 8 board are fixed | Good | JR70 | TOBI
83 | 2022-09-19 | M2U100876 | JH17 | Primary Board issue | Boards physically burnt and damaged,LVD,12V and voltage card are faulty | Faulty | Not repairable | V8 | 2022-09-19 | New wiznet,LVD,12V,Voltage card and Version 8 board are fixed | Good | JQ93 | TOBI
84 | 2022-09-19 | NILL | KH38 | Primary Board issue | Can't login | Faulty | Repairable | V8 | 2022-09-19 | New wiznet and Version 8 board are fixed | Good | JR71 | TOBI
85 | 2022-09-20 | NILL | IW39 | Water damaged issue | Water ingress | Faulty | Not repairable | V8 | 2022-09-20 | Replacement of everything except power-pack | Good | JQ91 | TOBI
86 | 2022-09-20 | M2USLA20151 | GX40 | Primary Board issue | Everything inside controller are damaged by water | Faulty | Not repairable | V8 | 2022-09-20 | Replacement of everything except power-pack | Good | JR85 | TOBI
87 | 2022-09-20 | M2U101548 | IO39 | Primary Board issue | Tripping off power | Faulty | Not repairable | V8 | 2022-09-20 | Replacement of everything except power-pack | Good | JR86 | TOBI
88 | 2022-09-20 | Y2U100059 | OE03 | Primary Board issue | Not powering | Faulty | Repairable | V8 | 2022-09-20 | New wiznet and Version 8 board are fixed | Good | JR82 | TOBI
89 | 2022-09-20 | M2U100966 | FQ75 | Primary Board issue | D43&44 permanently off | Faulty | Repairable | V8 | 2022-09-20 | New wiznet and Version 8 board are fixed | Good | JT04 | TOBI
90 | 2022-09-21 | M2U101400 | IN57 | Boards,12volt,LVD and Voltage cards issue | Modbus not working | Faulty | Repairable | V8 | 2022-09-21 | Replacement of everything except power-pack | Good | JU42 | TOBI
91 | 2022-09-21 | A2U100952 | BL26 | Primary Board issue | V7 Burnt board inside V8 container | Faulty | Not repairable | V8 | 2022-09-21 | Replacement of everything except power-pack | Good | OF48 | TOBI
92 | 2022-09-21 | NILL | HE32 | Boards,12volt,LVD and Voltage cards issue | Everything inside controller are damaged by water | Faulty | Not repairable | V8 | 2022-09-21 | Replacement of everything except power-pack | Good | OH08 | TOBI
93 | 2022-09-21 | MP108491 | LI86 | Primary Board issue | Can't login | Faulty | Repairable | V8(w) | 2022-09-21 | New wiznet and Version 8 board are fixed | Good | OF90 | TOBI
94 | 2022-09-21 | MP102563 | MB57 | Primary Board issue | D43&44 permanently off | Faulty | Repairable | V8(w) | 2022-09-21 | New wiznet and Version 8 board are fixed | Good | OH10 | TOBI
95 | 2022-09-22 | MP100604 | KB61 | Primary Board issue | Can't login | Faulty | Repairable | V8(w) | 2022-09-22 | New wiznet and Version 8 board are fixed | Good | OG64 | TOBI
96 | 2022-09-22 | M5LP00031 | JE18 | Water damaged issue | Water ingress | Faulty | Not repairable | V8(w) | 2022-09-22 | New wiznet and Version 8 board are fixed | Good | JQ96 | TOBI
97 | 2022-09-22 | NILL | LM61 | Power-pack(100w) and Primary Board issue | Boards physically burnt and damaged | Faulty | Not repairable | V8(w) | 2022-09-22 | Replacement of everything except power-pack(30W) | Good | JU81 | TOBI
98 | 2022-09-22 | M5LP01618 | KK13 | Water damaged issue | Can't login | Faulty | Repairable | V8(w) | 2022-09-22 | New wiznet and Version 8 board are fixed | Good | JT05 | TOBI
99 | 2022-09-22 | MP107234 | Missing | Board missing | Everything inside container missing except p-packs. | Faulty | Not repairable | V8(w) | 2022-09-22 | Replacement of everything except power-packs | Good | JU74 | TOBI
100 | 2022-09-22 | Y2U100958 | GE94 | 12V and wiznet issue | 12V card physically burnt and damaged,wiznet missing | Faulty | Not repairable | V8 | 2022-09-22 | New wiznet,sec-board and 12v card fixed | Good | GE94 | IFE
101 | 2022-09-23 | M2U100498 | EI26 | Primary Board issue | V-bat 1 and modbus not working | Faulty | Repairable | V7 | 2022-09-23 | V7 converted to V8 | Good | JR84 | TOBI
102 | 2022-09-23 | M2U101253 | EK94 | Primary Board issue | Modbus not working | Faulty | Repairable | V7 | 2022-09-23 | V7 converted to V8 | Good | JU96 | TOBI
103 | 2022-09-23 | M2U101088 | ED60 | Primary Board issue | Can't login | Faulty | Repairable | V7 | 2022-09-23 | V7 converted to V8 | Good | JU97 | TOBI
104 | 2022-09-23 | M2U100303 | EC60 | Primary Board issue | Can't login | Faulty | Repairable | V7 | 2022-09-23 | V7 converted to V8 | Good | JU75 | TOBI
105 | 2022-09-26 | NILL | KA88 | Boards,12volt,LVD and Voltage cards issue | Boards physically burnt and damaged | Faulty | Not repairable | V8 | 2022-09-26 | Replacement of everything except power-packs | Good | OR05 | TOBI
106 | 2022-09-26 | NILL | KY89 | Primary Board issue | Can't login | Faulty | Repairable | V8 | 2022-09-26 | New wiznet and Version 8 board are fixed | Good | OS69 | TOBI
107 | 2022-09-26 | M2U100685 | IZ78 | Power-pack(100w) and Primary Board issue | V-bats and modbus not working | Faulty | Repairable | V8 | 2022-09-26 | Replacement of everything except power-pack(100w). | Good | OH32 | TOBI
108 | 2022-09-26 | M2U100491 | GI94 | Power-pack(100w) and Primary Board issue | Boards physically burnt and damaged | Faulty | Not repairable | V8 | 2022-09-26 | Replacement of everything | Good | OW04 | TOBI
109 | 2022-09-27 | M2U101461 | ER18 | Primary Board issue | Tripping off power | Faulty | Repairable | V7 | 2022-09-27 | V7 converted to V8 | Good | OV92 | TOBI
110 | 2022-09-27 | M2U100194 | EA14 | LVD issue | Red light on LVD | Faulty | Repairable | V7 | 2022-09-27 | V7 converted to V8 | Good | OH94 | TOBI
111 | 2022-09-27 | M2U101394 | EJ55 | Primary Board issue | Boards physically burnt | Faulty | Repairable | V7 | 2022-09-27 | V7 converted to V8 | Good | OI34 | TOBI
112 | 2022-09-27 | MP100974 | IK91 | Primary Board issue | Boards physically burnt and damaged | Faulty | Not repairable | V8 | 2022-09-27 | New wiznet and Version 8 board are fixed | Good | OR07 | TOBI
113 | 2022-09-28 | A2U100076 | A827 | Primary Board issue | Not powering | Faulty | Repairable | V7 | 2022-09-28 | V7 converted to V8 | Good | OH98 | TOBI
114 | 2022-09-28 | NILL | E413 | Primary Board issue | Boards physically burnt and damaged | Faulty | Not repairable | V7 | 2022-09-28 | V7 converted to V8 | Good | OH93 | TOBI
115 | 2022-09-28 | R2UN100684 | BH14 | Primary Board issue | Not powering | Faulty | Repairable | V7 | 2022-09-28 | V7 converted to V8 | Good | OH42 | TOBI
116 | 2022-11-03 | M2U100432 | OE42 | Voltage card issue | Voltage and wiznet cards are faulty | Faulty | Repairable | V8 | 2022-11-03 | New wiznet and voltage card are fixed | Good | OE42 | TOBI
117 | 2022-11-04 | M2U100865 | OE81 | Wiznet issue | Wiznet faulty | Faulty | Repairable | V8 | 2022-11-04 | New wiznet fixed | Good | OE81 | TOBI
118 | 2022-11-04 | A2U100138 | GW43 | Boards,12volt,LVD and Voltage cards issue | Not powering | Faulty | Not repairable | V8 | 2022-11-04 | Replacement of everything except power-packs | Good | IX69 | TOBI
119 | 2022-11-04 | NILL | HC20 | Boards,12volt,LVD and Voltage cards issue | Boards physically burnt and damaged | Faulty | Not repairable | V8 | 2022-11-04 | New wiznet,LVD,12V,Voltage card,Version 8 board and p-pack(100w) are fixed | Good | IT05 | TOBI
120 | 2022-11-08 | NILL | IV41 | Boards and power-pack(100w)issue | Tripping off power | Faulty | Repairable | V8 | 2022-11-08 | Replacement of everything. | Good | HA13 | TOBI
121 | 2022-11-08 | R2UN100222 | FZ83 | LVD and voltage cards issue | Not alarming digital input 5 | Faulty | Not repairable | V8 | 2022-11-08 | New LVD and voltage cards fixed | Good | FZ83 | TOBI
122 | 2022-11-08 | M2U101208 | OD28 | Voltage card issue | Voltage and wiznet cards are faulty | Faulty | Repairable | V8 | 2022-11-08 | New wiznet and voltage card are fixed | Good | OD28 | TOBI
123 | 2022-11-09 | M2U101773 | EQ94 | Primary Board issue | Boards physically burnt and damaged | Faulty | Not repairable | V7 | 2022-11-09 | Repaired Version 7 board are fixed | Good | B977 | TOBI
124 | 2022-11-09 | M2USLA20235 | GQ68 | Primary Board issue | It needs upgrade version | Faulty | Repairable | V8 | 2022-11-09 | Upgraded to the latest version | Good | GQ68 | TOBI
125 | 2022-11-09 | M2USLA20089 | OW27 | Primary Board issue | Boards physically burnt | Faulty | Repairable | V8 | 2022-11-09 | Repaired Version 8 board are fixed | Good | KM68 | TOBI
126 | 2022-11-10 | M5LP01346 | KP08 | Primary and sec board issue | D43&44 permanently off | Faulty | Repairable | V8(w) | 2022-11-10 | Repaired Version 8 board and LVD are fixed | Good | ID73 | TOBI
127 | 2022-11-10 | M5LP01981 | NILL | Primary and sec board missing | Primary and sec board missing | Faulty | Not repairable | V8(w) | 2022-11-10 | Repaired Version 8 board are fixed | Good | IX75 | TOBI
128 | 2022-11-10 | M5LP01385 | KP50 | Boards,12volt,LVD and power-pack(30w)issue | Boards physically burnt | Faulty | Repairable | V8(w) | 2022-11-10 | Wiznet,LVD,12V card and Repaired Version 8 board are fixed | Good | IP10 | TOBI
129 | 2022-11-11 | NILL | OE56 | Power-pack(100w) and Primary Board issue | Not powering | Faulty | Repairable | V8(w) | 2022-11-11 | Repaired Version 8 board are fixed | Good | IU83 | TOBI
130 | 2022-11-11 | NILL | NILL | Primary,sec board and p-pack(100w) missing | Primary and sec board missing | Faulty | Not repairable | V8(w) | 2022-11-11 | Repaired Version 8 board and p-pack(100w) are fixed | Good | OA14 | TOBI
131 | 2022-11-11 | M5LP00031 | KX98 | Everything inside controller are burnt | Boards physically burnt and damaged | Faulty | Not repairable | V8(w) | 2022-11-11 | Wiznet,p-pack(100w),LVD,12V card and Repaired Version 8 board are fixed | Good | OE99 | TOBI
132 | 2022-11-14 | M2U4LAN232 | JB86 | Primary Board and LVD issue | Modbus not working,giving wrong digital input alarm | Faulty | Not repairable | V8 | 2022-11-14 | Repaired Version 8 board,LVD and wiznet are fixed | Good | HM47 | TOBI
133 | 2022-11-14 | Y2U100178 | IY81 | Boards,LVD and Voltage cards issue | Not powering | Faulty | Repairable | V8 | 2022-11-14 | Repaired Version 8 board,LVD,Voltage card and wiznet are fixed | Good | IB45 | TOBI
134 | 2022-11-14 | NILL | FU77 | 12V card issue | 12V card is missing | Faulty | Repairable | V8 | 2022-11-14 | 12V card and Repaired Version 8 board are fixed | Good | IO23 | TOBI
135 | 2022-11-15 | Y2UZ00094 | IY64 | P-pack and wiznet issue | P-pack(100w) and wiznet are faulty | Faulty | Repairable | V8 | 2022-11-15 | Power-pack(100w) and wiznet are fixed | Good | IY64 | TOBI
136 | 2022-11-15 | NILL | IA04 | Primary Board issue | Not powering | Faulty | Repairable | V8 | 2022-11-15 | Repaired Version 8 board and wiznet are fixed | Good | FY74 | TOBI
137 | 2022-11-15 | Y2UJ100206 | DA92 | Primary Board issue | Physically burnt | Faulty | Repairable | V7 | 2022-11-15 | Repaired Version 7 board is fixed | Good | DG40 | TOBI
138 | 2022-11-16 | M5LP02504 | NILL | Boards,p-packs,12volt,LVD and Voltage cards issue | Everything inside container are missing | Faulty | Not repairable | V8(w) | 2022-11-16 | Replacement of everything inside container(repaired board used) | Good | JB44 | TOBI
139 | 2022-11-16 | MP107353 | NILL | Primary Board issue | Boards,wiznet and voltage card are missing | Faulty | Not repairable | V8(w) | 2022-11-16 | Repaired Version 8 board,voltage card,p-pack(100w) and wiznet are fixed | Good | GQ74 | TOBI
140 | 2022-11-16 | M5LP00853 | NILL | Everything inside controller are missing except p-packs | Everything inside container are missing except p-packs | Faulty | Not repairable | V8(w) | 2022-11-16 | Replacement of everything inside container,except p-packs (repaired board used) | Good | IW34 | TOBI
141 | 2022-11-23 | A2U100058 | B163 | Board,Voltage card and power-pack(100w)issue | Boards physically burnt | Faulty | Not repairable | V7 | 2022-11-23 | Repaired Version 7 board,voltage card and p-pack(100w) are fixed | Good | B235 | TOBI
142 | 2022-11-23 | A2U100918 | B830 | Power-pack(100w) and Primary Board issue | Not powering | Faulty | Repairable | V7 | 2022-11-23 | V7 converted to V8 (Repaired board) | Good | ZY80 | TOBI
143 | 2022-11-23 | R2UN101192 | NILL | Primary,sec board,LVD and p-pack(100w) missing | Primary,sec board,LVD and p-pack(100w) missing | Faulty | Not repairable | V8 | 2022-11-23 | Repaired Version 8 board,LVD,p-pack(100w) and wiznet are fixed | Good | LN31 | TOBI
144 | 2022-11-24 | M5LP00114 | JF44 | Wiznet and cables issue | Not powering | Faulty | Repairable | V8(w) | 2022-11-24 | Wiznet and cables are fixed | Good | JF44 | TOBI
145 | 2022-11-24 | M5LP00555 | KQ39 | Power-pack(100w) issue | Voltage cards not working | Faulty | Not repairable | V8(w) | 2022-11-24 | Power-pack(100w) fixed | Good | KQ39 | TOBI
146 | 2022-11-24 | MP101863 | IJ40 | Primary Board issue | Modbus and v-bat 1 not working | Faulty | Repairable | V8(w) | 2022-11-24 | Repaired Version 8 board and wiznet are fixed | Good | JV96 | TOBI
147 | 2022-11-25 | MP108455 | LT24 | P-pack(100w) and cables issue | Not powering | Faulty | Repairable | V8(w) | 2022-11-25 | Power-pack(100w) and cables are fixed | Good | LT24 | TOBI
148 | 2022-11-25 | M5LP00218 | HM76 | Primary and sec board issue | Boards physically burnt and damaged | Faulty | Not repairable | V8(w) | 2022-11-25 | Repaired Version 8 board,LVD,voltage cards and wiznet are fixed | Good | JW65 | TOBI
149 | 2022-11-25 | MP100417 | GD18 | Secondary board issue | Tripping off power | Faulty | Repairable | V8(w) | 2022-11-25 | Secondary board and wiznet are fixed | Good | GD18 | TOBI
150 | 2022-11-25 | R2UN100383 | BH33 | Primary Board Issue | Tripping off power | Faulty | Repairable | V8 | 2022-11-25 | Version 7 boards are converted to version 8 | Good | OE56 | SEGUN
151 | 2022-11-25 | A2U100728 | NILL | Primary Board Issue | Boards physically burnt and damaged | Faulty | Not repairable | V8 | 2022-11-25 | Version 7 boards are converted to version 8 | Good | JA88 | SEGUN
152 | 2022-11-25 | NILL | NILL | Everything inside controller are missing except p-packs | Everything inside controller are missing except p-packs | Faulty | Not repairable | V8(w) | 2022-11-25 | Repaired Version 8 board,LVD,p-pack(100w) and wiznet are fixed | Good | LM04 | SEGUN
153 | 2022-11-28 | MP108491 | NILL | Primary,sec board and wiznet are missing | Primary,sec board and wiznet are missing | Faulty | Not repairable | V8(w) | 2022-11-28 | Repaired Version 8 board and wiznet are fixed | Good | OE05 | TOBI
154 | 2022-11-28 | MP101957 | NILL | Primary,sec board,P-pack(100w) and wiznet are missing | Primary,sec board,P-pack(100w) and wiznet are missing | Faulty | Not repairable | V8(w) | 2022-11-28 | Repaired Version 8 board,p-pack(100w) and wiznet are fixed | Good | JO68 | TOBI
155 | 2022-11-28 | M5LP00150 | II97 | Everything inside controller are burnt | Boards physically burnt and damaged | Faulty | Not repairable | V8(w) | 2022-11-28 | Replacement of everything inside container (repaired board version 8 used) | Good | IY70 | TOBI
156 | 2022-12-07 | M5LP02012 | NILL | Everything inside controller are missing except p-packs | Everything inside controller are missing except p-packs | Faulty | Not repairable | V8(w) | 2022-12-07 | Replacement of everything inside container (repaired board version 8 used) except p-packs | Good | IW77 | TOBI
157 | 2022-12-07 | MP106709 | JZ91 | Primary Board Issue | D43&44 are permanently off | Faulty | Repairable | V8(w) | 2022-12-07 | Repaired Version 8 board and wiznet are fixed | Good | LT08 | TOBI
158 | 2022-12-07 | MP102603 | IS55 | Primary Board Issue | Modbus and v-bat 1 not working | Faulty | Repairable | V8(w) | 2022-12-07 | Repaired Version 8 board and wiznet are fixed | Good | IL66 | TOBI
159 | 2022-12-08 | M5LP01833 | OS53 | Power-pack(30w) and Primary Board issue | Boards physically burnt | Faulty | Repairable | V8(w) | 2022-12-08 | Repaired Version 8 board,LVD and wiznet are fixed | Good | HW76 | TOBI
160 | 2022-12-08 | MP100995 | NILL | Primary,sec board,LVD and 12v card are missing | Primary,sec board,LVD and 12v card are missing | Faulty | Not repairable | V8(w) | 2022-12-08 | Repaired Version 8 board,LVD and 12v card are fixed | Good | CL90 | TOBI
161 | 2022-12-08 | M5LP01185 | OX82 | Primary Board Issue | Wiznet tripping off board,modbus not working | Faulty | Repairable | V8(w) | 2022-12-08 | Repaired Version 8 board and wiznet are fixed | Good |  | TOBI
162 | 2022-12-14 | Y2U101172 | CX82 | Primary Board Issue | D43&44 are permanently off | Faulty | Repairable | V8 | 2022-12-14 | New wiznet and Version 8 board are fixed | Good | JV42 | AYODELE
163 | 2022-12-14 | M2USLA20108 | GO21 | Primary Board Issue | Modbus and v-bat 1 not working | Faulty | Not repairable | V8 | 2022-12-14 | New wiznet and Version 8 board are fixed | Good | JV43 | AYODELE
164 | 2022-12-14 | M2U100599 | MD10 | Primary Board Issue | D43 and 44 are permanently off, Wiznet | Faulty | Repairable | v8 | 2022-12-14 | New wiznet and Version 8 board are fixed | Good | KL78 | FRANCIS
165 | 2022-12-14 | Y2U100065 | LS12 | Primary Board Issue | D43 and 44 are permanently off, Wiznet | Faulty | Repairable | v8 | 2022-12-14 | New wiznet and Version 8 board are fixed | Good | KL85 | FRANCIS
166 | 2022-12-14 | NILL | OC01 | no issue | voltage card faulty | Faulty | no issue | v8 | 2022-12-14 | voltage card fixed | Good | oc01 | AYODELE
167 | 2022-12-14 | NILL | LH02 | Primary Board Issue | Board tripping off, D43 & D44 permanently off | Faulty | Repairable | v8 | 2022-12-14 | New wiznet and Version 8 board are fixed | Good | KL10 | FRANCIS
168 | 2022-12-14 | M2U100966 | LM82 | no board issue | LVD,12 V,wiznet, voltage card, 100w power pack | Faulty | no board issue | v8 | 2022-12-14 | LVD,12 V,wiznet, voltage card, 100w power pack fixed | Good | LM82 | AYODELE
169 | 2022-12-14 | Y2UJ**0117 | GF85 | Primary Board Issue | Board tripping off, red light on LVD | Faulty | Repairable | V8 | 2022-12-14 | New wiznet LVD and Version 8 board are fixed | Good | KK99 | FRANCIS
170 | 2022-12-15 | R2UN100822 | OC91 | Water damaged issue | Water ingress | Faulty | Not repairable | V8 | 2022-12-15 | Replacement of everything inside container,except p-packs (repaired board used) | Good | KL30 | PAUL
171 | 2022-12-15 | Y2UJ100600 | KZ27 | Primary Board Issue | D43&44 are permanently off | Faulty | Repairable | V8 | 2022-12-15 | New wiznet LVD and Version 8 board are fixed | Good | KM30 | PAUL
172 | 2022-12-15 | M2U100906 | GF13 | Primary Board Issue | Modbus and v-bat 1 not working | Faulty | Repairable | V8 | 2022-12-15 | New wiznet and Version 8 board are fixed | Good | KL87 | PAUL
173 | 2022-12-15 | Y2U100593 | CF40 | Water damaged issue | Water ingress | Faulty | Not repairable | V8 | 2022-12-15 | New wiznet, LVD, 100W power pack and Version 8 board are fixed | Good | KM09 | PAUL
174 | 2022-12-15 | Y2U100593 | NIL | no board | NIL | NIL | NIL | V8 | 2022-12-15 | New wiznet and Version 8 board are fixed | Good | KL89 | PAUL
175 | 2022-12-15 | Y2U100107 | CB72 | Primary board issue | Primary, sec board not powering | Faulty | Repairable | V8 | 2022-12-15 | New Primary and secondary board Version 8 is fixed | Good | KL28 | ISOKAN
176 | 2022-12-15 | R2U101461 | GO60 | Primary board issue, LVD bad | Primary, sec board not powering | Faulty | Repairable | V8 | 2022-12-15 | LVD, New Primary and secondary board Version 8 is fixed | Good | KL65 | ISOKAN
177 | 2022-12-15 | M5LP02749 | KI25 | Primary board issue | Water damaged | Faulty | Not repairable | V8 | 2022-12-15 | New Primary and secondary board Version 8 is fixed | Good | KL66 | ISOKAN
178 | 2022-12-15 | A2U100021 | MB84 | Primaary board issue, LVD faulty, Power pack burnt, Voltage card issue | Primary, sec board not powering, LVD bad, voltage card faulty | Faulty | Not repairable | V8 | 2022-12-15 | LVD, power pack, voltage card, New Primary and secondary board Version 8 is fixed | Good | KL63 | ISOKAN
179 | 2022-12-15 | Y2U100348 | NIL | Secondary board issue | Secondary board not powering | Faulty | Not repairable | V8 | 2022-12-15 | New Secondary board fixed | Good | NIL | ISOKAN
180 | 2022-12-15 | M2U101123 | IH79 | Primary board issue | Primary, sec board physically burnt | Faulty | Not repairable | V8 | 2022-12-15 | New Primary and secondary board Version 8 is fixed | Good | KL19 | ISOKAN
181 | 2022-12-15 | T20J999989 | IO04 | Primary board issue | Board not powering | Faulty | Repairable | V8 | 2022-12-15 | New Primary and secondary board Version 8 and voltage card fixed | Good | KL39 | PAUL
182 | 2022-12-16 | S2U100064 | NIL | Primary board issue | Board not powering | Faulty | Repairable | V8 | 2022-12-16 | New Primary and secondary board Version 8 is fixed | Good | OT54 | ISOKAN
183 | 2022-12-16 | Y2U10077 | CA42 | Primary board issue | Modbus faulty | Faulty | Repairable | V8 | 2022-12-16 | New Primary and secondary board Version 8 is fixed | Good | KG95 | ISOKAN
184 | 2022-12-16 | Y2U100185 | NIL | Wiznet issue | Faulty Wiznet | Faulty | Nil | V8 | 2022-12-16 | Wiznet changed | Good | Nil | ISOKAN
185 | 2022-12-16 | M5LP00389 | KC41 | Primary board issue | Modbus faulty | Faulty | Repairable | V8 | 2022-12-16 | New Primary and secondary board Version 8 is fixed | Good | KL60 | ISOKAN
186 | 2022-12-16 | MP100488 | IJ51 | Primary board issue | Modbus faulty | Faulty | Repairable | V8 | 2022-12-16 | New Primary and secondary board Version 8 is fixed | Good | KL15 | ISOKAN
187 | 2022-12-16 | M5LP00071 | HH11 | Primary board issue | Modbus faulty | Faulty | Repairable | V8 | 2022-12-16 | New Primary and secondary board Version 8 is fixed | Good | KL25 | ISOKAN
188 | 2022-12-17 | A2U100650 | B727 | Primary board issue | Modbus faulty | Faulty | Repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | JV31 | PAUL
189 | 2022-12-17 | A2U100328 | B506 | Primary board issue | Modbus faulty | Faulty | Repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | KH61 | ISOKAN
190 | 2022-12-17 | A2U100313 | B459 | Primary Board Issue | D43&44 are permanently off | Faulty | Repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | KG60 | PAUL
191 | 2022-12-17 | A2U100131 | B085 | Water damaged issue | Water ingress | Faulty | Not repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | KH76 | ISOKAN
192 | 2022-12-17 | A2U100744 | B715 | Water damaged issue | Water ingress | Faulty | Not repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | KH65 | PAUL
193 | 2022-12-17 | A2U100421 | B080 | Primary board issue | Modbus faulty | Faulty | Repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | KG85 | ISOKAN
194 | 2022-12-17 | A2U100135 | B036 | Primary Board Issue | D43&44 are permanently off | Faulty | Repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | KG90 | PAUL
195 | 2022-12-17 | A2U100932 | D009 | Primary and sec board issue | Boards physically burnt and damaged | Faulty | Not repairable | V7 | 2022-12-17 | V7 converted to V8 | Good | KH63 | ISOKAN